## DGA
SNO | ASSETNAME | TAGNAME | DISPLAYNAME | UOM | VALUETEXT | TESTMETHOD | SUBSYSTEM | TESTTYPE | SAMPLEDATE | TESTINGDATE | SAMPLEDBY | POSITION | POSITION(OTHER) | TESTEDBY | SAMPLINGMETHOD | REASONOFSAMPLING | ATMOSPHERICCONDITION
1 | ET_HYH9S1_001 | MT_AMB_HUMIDITY_OIL_TEST_OFF | Ambient Humidity | % |  |  | Maintank
2 | ET_HYH9S1_001 | MT_AMB_TEMP_OIL_TEST_OFF | Ambient Temperature | °C |  |  | Maintank
3 | ET_HYH9S1_001 | MT_OIL_C2H2_OFF | C2H2 OFF | ppm |  |  | Maintank
4 | ET_HYH9S1_001 | MT_OIL_C2H4_OFF | C2H4 OFF | ppm |  |  | Maintank
5 | ET_HYH9S1_001 | MT_OIL_C2H6_OFF | C2H6 OFF | ppm |  |  | Maintank
6 | ET_HYH9S1_001 | MT_OIL_C3H6_C3H8_OFF | Propane+Propylene ( C3H6+C3H8) OFF | ppm |  |  | Maintank
7 | ET_HYH9S1_001 | MT_OIL_CH4_OFF | CH4 OFF | ppm |  |  | Maintank
8 | ET_HYH9S1_001 | MT_OIL_CO2_OFF | CO2 OFF | ppm |  |  | Maintank
9 | ET_HYH9S1_001 | MT_OIL_CO_OFF | CO OFF | ppm |  |  | Maintank
10 | ET_HYH9S1_001 | MT_OIL_H2_OFF | H2 OFF | ppm |  |  | Maintank
11 | ET_HYH9S1_001 | MT_OIL_MST_OFF | Moisture OFF | ppm |  |  | Maintank
12 | ET_HYH9S1_001 | MT_OIL_N2_OFF | N2 OFF | ppm |  |  | Maintank
13 | ET_HYH9S1_001 | MT_OIL_O2_OFF | O2 OFF | ppm |  |  | Maintank
14 | ET_HYH9S1_001 | MT_OIL_TCG_OFF | Total Combustible Gases OFF | ppm |  |  | Maintank
15 | ET_HYH9S1_001 | MT_OIL_TDCG_OFF | TDCG OFF | ppm |  |  | Maintank
16 | ET_HYH9S1_001 | MT_OIL_TDCG_TGC_OFF | TDCG/TGC OFF | % |  |  | Maintank
17 | ET_HYH9S1_001 | MT_OIL_TGC_OFF | Total Gas Content OFF | % |  |  | Maintank
18 | ET_HYH9S1_001 | OIL_TEMP_OFF | Oil Temperature OFF | °C |  |  | Maintank
19 | ET_HYH9S1_001 | MT_CORR_SULPHUR_AT_TEMP_T1_FOR_TIME_T1_OFF | Corrosive Sulphur at 150°C for 72 hrs |  |  |  | Maintank
20 | ET_HYH9S1_001 | MT_OIL_BREAKDOWN_VOLT_OFF | Oil Breakdown Voltage | kV |  |  | Maintank
21 | ET_HYH9S1_001 | MT_OIL_DENSITY_AT_TEMP_T2_OFF | Density at Temperature 20°C | g/cm³ |  |  | Maintank
22 | ET_HYH9S1_001 | MT_OIL_DIE_DF_AT_27_DEG_OFF | Dielectric Dissipation Factor at 27°C |  |  |  | Maintank
23 | ET_HYH9S1_001 | MT_OIL_DIE_DF_AT_90_DEG_OFF | Dielectric Dissipation Factor at 90°C |  |  |  | Maintank
24 | ET_HYH9S1_001 | MT_OIL_FLASH_POINT_OFF | Flash Point | °C |  |  | Maintank
25 | ET_HYH9S1_001 | MT_OIL_INTERFACIAL_TENS_OFF | Inter Facial Tension | mN/m |  |  | Maintank
26 | ET_HYH9S1_001 | MT_OIL_KINEMATIC_VISCOSITY_TEMP_T1_OFF | Kinematic Viscosity at 40°C | mm²/s |  |  | Maintank
27 | ET_HYH9S1_001 | MT_OIL_KINEMATIC_VISCOSITY_TEMP_T2_OFF | Kinematic Viscosity at 30°C | mm²/s |  |  | Maintank
28 | ET_HYH9S1_001 | MT_OIL_POUR_POINT_OFF | Pour Point | °C |  |  | Maintank
29 | ET_HYH9S1_001 | MT_OIL_RESITIVITY_AT_27_DEG_OFF | Oil Resistivity at 27°C | Ω-cm |  |  | Maintank
30 | ET_HYH9S1_001 | MT_OIL_RESITIVITY_AT_90_DEG_OFF | Oil Resistivity at 90°C | Ω-cm |  |  | Maintank
31 | ET_HYH9S1_001 | MT_OIL_TOTAL_ACID_NO | Neutralization Value (Acidity) | mgKOH/g |  |  | Maintank
32 | ET_HYH9S1_001 | OIL_APPEARANCE | Oil Appearance |  |  |  | Maintank
33 | ET_HYH9S1_001 | OIL_SLUDGE_SEDIMENT | Oil Sludge & Sediment | % mass |  |  | Maintank
34 | ET_HYH9S1_001 | MT_OIL_FUR_5_C6H6O2_OFF | 5-Methyl-2-furaldehyde | ppm |  |  | Maintank
35 | ET_HYH9S1_001 | MT_OIL_FUR_C5H4O2_OFF | 2-Furaldehyde | ppm |  |  | Maintank
36 | ET_HYH9S1_001 | MT_OIL_FUR_C5H6O2_OFF | 2-Furfuryl alcohol | ppm |  |  | Maintank
37 | ET_HYH9S1_001 | MT_OIL_FUR_C6H6O2_OFF | 2-Acetylfuran | ppm |  |  | Maintank
38 | ET_HYH9S1_001 | MT_OIL_FUR_C6H6O3_OFF | 5-Hydroxymethyl-2-feruldehyde | ppm |  |  | Maintank
39 | ET_HYH9S1_001 | MT_OIL_FUR_ESTMD_DP_VALUE_OFF | Estimated DP Value |  |  |  | Maintank
40 | ET_HYH9S1_001 | MT_OIL_FUR_TOTAL_FURAN_OFF | Total Furans | ppm |  |  | Maintank

## MasterData
TESTMETHOD | SAMPLINGMETHOD
IS_1866-2000_Addition_4.1,_2006-08 | IS_1866-2000_Addition_4.1,_2006-08
IS_10593 | IS_10593
ASTM_:D_5837 | ASTM_:D_5837
IS_6855 | IS_6855
IS_335:2018/IS_1866:2017 | IS_335:2018/IS_1866:2017
IS_335 | IS_335
IS_6792:2017(IEC_60156:1995) | IS_6792:2017(IEC_60156:1995)
IS_6792 | IS_6792
IEC_60422 | IEC_60422
IS_13567:2018_(IEC_60814:1997) | IS_13567:2018_(IEC_60814:1997)
IS_13567 | IS_13567
IEC_60296 | IEC_60296
ASTM_D_974:2021 | ASTM_D_974:2021
IS_1448(P-2) | IS_1448(P-2)
ASTM_D974 | ASTM_D974
IS_6262:1971 | IS_6262:1971
IS_6262 | IS_6262
IEC_60247 | IEC_60247
IS_6103:1971 | IS_6103:1971
IS_6103 | IS_6103
IEC_60666 | IEC_60666
IS_1866:2017/IEC_61125:2018_(CI._4.8.1) | IS_1866:2017/IEC_61125:2018_(CI._4.8.1)
IS_1866-2017 | IS_1866-2017
IS_1866_(AP-A) | IS_1866_(AP-A)
IS_6104:1971 | IS_6104:1971
IS_6104 | IS_6104
IS_1448[P-21]:2019 | IS_1448[P-21]:2019
IS_1448(P-21) | IS_1448(P-21)
ASTM_D-6450 | ASTM_D-6450
IS_1448[P-10/Sec_2]:2013 | IS_1448[P-10/Sec_2]:2013
IS_1448[P-25/Sec_1]:2018 | IS_1448[P-25/Sec_1]:2018
IEC_62535:2008-10_(Ed._1) | IEC_62535:2008-10_(Ed._1)
IS_1448[P-16]:2014 | IS_1448[P-16]:2014
IS_1448(P-16) | IS_1448(P-16)
ASTM_D_3612 | ASTM_D_3612
IS_10593,9434 | IS_10593,9434
IEEE-C57.104-2008 | IEEE-C57.104-2008
IEC-61198:_1993 | IEC-61198:_1993
IEC-61198:_BS148 | IEC-61198:_BS148
IEC_60475 | IEC_60475
IEC_62021-3_(A)_:_2014 | IEC_62021-3_(A)_:_2014
IEC_60247_:_2004 | IEC_60247_:_2004
ISO_4406:2017_-_IEC_60970:2007 | ISO_4406:2017_-_IEC_60970:2007
IEC_60567_:_2011 | IEC_60567_:_2011
ASTM_D7151-15 | ASTM_D7151-15
IEC_60814 | IEC_60814
IEC_60165 | IEC_60165
IEC_62021 | IEC_62021
IEC_61198 | IEC_61198
IEEE_Std_C57.106-2002 | IEEE_Std_C57.106-2002
IS_6855_&_9434 | IS_6855_&_9434
IS_335:1993 | IS_335:1993
IS_1448[P-2]:2007 | IS_1448[P-2]:2007
IS_6792:2017 | IS_6792:2017
IS_13567:2018 | IS_13567:2018
IS_Annex._C_of_IS_1866:2017 | IS_Annex._C_of_IS_1866:2017
IS_9434:2019 | IS_9434:2019
IS_335:2018 | IS_335:2018
IEEE-C57.104-2019 | IEEE-C57.104-2019
IS_1448[P-20]:1967 | IS_1448[P-20]:1967
IS_1866:2017 | IS_1866:2017